## OPEX
OPEX Module | Elements with Parameters | Type of Parameter | More Details for the OPEX | Unit | Price/unit
Treated FLOW | Default Parameter | 0 |  | KW
Chemical consumption | DAP consumption | 0 | Nutrient for Bio remediation (Phosphate source) | Kg | 30
| Unit Cost | 0 | Cost of DAP | INR | 30
| % Change Per last consumption | 0 | Percentage Increment or decrement of chemical | % | 30
| DAP Dosed per m3 processed | 0 | As function of quantity of effluent processed.Parameter to be taken from Process Module library. | Kg | 30
| DAP Dosed per Kg COD Load | 0 | As function of COD Load of effluent processed.Parameter to be taken from Process Module library. | Kg | 30
| Cost Incurred- DAP | 0 | Function of unit cost * consumption | INR | 30
| Cost per m3 processed - DAP | 0 | As function of quantity of effluent processed.Parameter to be taken from Process Module library. | INR | 30
| Cost per Kg COD Load DAP | 0 | As function of COD Load of effluent processed.Parameter to be taken from Process Module library. | INR | 30
| Accumulated Consumption-DAP | 0 | Function of Sum of last day total and current register. | Kg | 30
| Accumulated cost-DAP | 0 | Function of total cost of last day and current cost. | INR | 30
| Urea Consumption | 0 | Nutrient for Bioremediation ( Nitrogen Source) | Kg | 30
| Unit Cost | 0 | Cost per unit based on different site. | INR | 30
| % Change Per last consumption | 0 | Function of current day consumption w.r.t last consumption registered. | % | 30
| Urea Dosed per m3 processed | 0 | As function of quantity of effluent processed.Parameter to be taken from Process Module library. | Kg | 30
| Urea Dosed per Kg COD Load | 0 | As function of COD Load of effluent processed.Parameter to be taken from Process Module library. | Kg | 30
| Cost Incurred Urea | 0 | Function of unit cost * consumption | INR | 30
| Cost per m3 processed -Urea | 0 | As function of quantity of effluent processed.Parameter to be taken from Process Module library. | INR | 30
| Cost per Kg COD Load- Urea | 0 | As function of COD Load of effluent processed.Parameter to be taken from Process Module library. | INR | 30
| Accumulated Consumption- Urea | 0 | Function of Sum of last day total and current register. | Kg | 30
| Accumulated cost - Urea | 0 | Function of total cost of last day and current cost. | INR | 30
| NPK | 0 | Nutrient for Bioremediation(N and P both) | Kg | 30
| Phosphoric acid | 0 | Nutrient for Bioremediation (Phosphate source) | Kg | 30
| Ferrous Sulfate | 0 | Micronutrient for Bioremediation. | Kg | 30
| Zinc Sulfate | 0 | Micronutrient for Bioremediation. | Kg | 30
| Nickel Chloride | 0 | Micronutrient for Bioremediation. | Kg | 30
| Cobalt Chloride | 0 | Micronutrient for Bioremediation. | Kg | 30
| Ferric Alum Consumption | 0 | Coagulent for pretreatment and post treatment. | Kg | 30
| Unit Cost | 0 | Cost per unit based on different site. | INR | 30
| % Change Per last consumption | 0 | Function of current day consumption w.r.t last consumption registered. | % | 30
| Alum Dosed per m3 processed | 0 | As function of quantity of effluent processed.Parameter to be taken from Process Module library. | Kg | 30
| Alum Dosed per Kg COD Load | 0 | As function of COD Load of effluent processed.Parameter to be taken from Process Module library. | Kg | 30
| Cost Incurred Alum | 0 | Function of unit cost * consumption | INR | 30
| Cost per m3 processed Alum | 0 | As function of quantity of effluent processed.Parameter to be taken from Process Module library. | INR | 30
| Cost per Kg COD Load Alum | 0 | As function of COD Load of effluent processed.Parameter to be taken from Process Module library. | INR | 30
| Total Accumulated consumption- Alum | 0 | Function of Sum of last day total and current register. | Kg | 30
| Total Accumulated cost - Alum | 0 | Function of total cost of last day and current cost. | INR | 30
| Potash Alum | 0 | Coagulent for pretreatment and post treatment. | Kg | 30
| DC20 | 0 | Coagulent for post treatment. | Kg | 30
| CT50 | 0 | Precipitation agent for post treatment. | Kg | 30
| Poly Aluminium Chloride Consumption | 0 | Coagulent for pretreatment. | Kg | 30
| Unit Cost | 0 | Cost per unit based on different site. | INR | 30
| %Change Per last consumption PAC | 0 | Function of current day consumption w.r.t last consumption registered. | % | 30
| PAC Dosed per m3 processed | 0 | As function of quantity of effluent processed.Parameter to be taken from Process Module library. | Kg | 30
| PAC Dosed per Kg COD Load | 0 | As function of COD Load of effluent processed.Parameter to be taken from Process Module library. | Kg | 30
| Cost Incurred PAC | 0 | Function of unit cost * consumption | INR | 30
| Cost per m3 processed PAC | 0 | As function of quantity of effluent processed.Parameter to be taken from Process Module library. | INR | 30
| Cost per Kg COD Load PAC | 0 | As function of COD Load of effluent processed.Parameter to be taken from Process Module library. | INR | 30
| Total accumulated consumption- PAC | 0 | Function of Sum of last day total and current register. | Kg | 30
| Total accumulated cost-PAC | 0 | Function of total cost of last day and current cost. | INR | 30
| Ferric Chloride | 0 | Coagulent for pretreatment. | Kg | 30
| Hydrogen Peroxide Consumption | 0 | Coagulent , oxidising agent , precipitation. | Kg | 30
| Unit Cost | 0 | Cost per unit based on different site. | INR | 30
| %Change Per last consumption-H2O2 | 0 | Function of current day consumption w.r.t last consumption registered. | % | 30
| H2O2 Dosed per m3 processed | 0 | As function of quantity of effluent processed.Parameter to be taken from Process Module library. | Kg | 30
| H2O2 Dosed per Kg COD Load | 0 | As function of COD Load of effluent processed.Parameter to be taken from Process Module library. | Kg | 30
| Cost Incurred H2O2 | 0 | Function of unit cost * consumption | INR | 30
| Cost per m3 processed H2O2 | 0 | As function of quantity of effluent processed.Parameter to be taken from Process Module library. | INR | 30
| Cost per Kg COD Load H2O2 | 0 | As function of COD Load of effluent processed.Parameter to be taken from Process Module library. | INR | 30
| Total accumulated consumption -H2O2 | 0 | Function of Sum of last day total and current register. | Kg | 30
| Total accumulated Cost - H2O2 | 0 | Function of total cost of last day and current cost. | INR | 30
| DWPE | 0 | flocculant for dewatering pre sludge treatment. | Kg | 30
| Unit Cost | 0 | Cost per unit based on different site. | INR | 30
| % Change Per last consumption | 0 | Function of current day consumption w.r.t last consumption registered. | % | 30
| DWPE Dosed per m3 processed | 0 | As function of quantity of effluent processed.Parameter to be taken from Process Module library. | Kg | 30
| DWPE Dosed per Kg COD Load | 0 | As function of COD Load of effluent processed.Parameter to be taken from Process Module library. | Kg | 30
| Cost Incurred -DWPE | 0 | Function of unit cost * consumption | INR | 30
| Cost per m3 processed - DWPE | 0 | As function of quantity of effluent processed.Parameter to be taken from Process Module library. | INR | 30
| Cost per Kg COD Load -DWPE | 0 | As function of COD Load of effluent processed.Parameter to be taken from Process Module library. | INR | 30
| Total Accumulated consumption - DWPE | 0 | Function of Sum of last day total and current register. | Kg | 30
| Total Accumulated Cost - DWPE | 0 | Function of total cost of last day and current cost. | INR | 30
| DOPE CATIONIC | 0 | Flocculant | Kg | 30
| Unit Cost | 0 | Cost per unit based on different site. | INR | 30
| % Change Per last consumption | 0 | Function of current day consumption w.r.t last consumption registered. | % | 30
| DOPE Dosed per m3 processed | 0 | As function of quantity of effluent processed.Parameter to be taken from Process Module library. | Kg | 30
| DOPE Dosed per Kg COD Load | 0 | As function of COD Load of effluent processed.Parameter to be taken from Process Module library. | Kg | 30
| Cost Incurred -DOPE | 0 | Function of unit cost * consumption | INR | 30
| Cost per m3 processed -DOPE | 0 | As function of quantity of effluent processed.Parameter to be taken from Process Module library. | INR | 30
| Cost per Kg COD Load -DOPE | 0 | As function of COD Load of effluent processed.Parameter to be taken from Process Module library. | INR | 30
| Total Accumulated consumption- DOPE | 0 | Function of Sum of last day total and current register. | Kg | 30
| Total Accumulated Cost -DOPE. | 0 | Function of total cost of last day and current cost. | INR | 30
| Protomol(c5) | 0 | Flocculant | Kg | 30
| Decolorizer | 0 | Precipitation agent for post treatment. | Kg | 30
| Sulfuric Acid | 0 | pH adjustment. | Kg | 30
| Caustic | 0 | pH adjustment and cleaning | Kg | 30
| HCl | 0 | pH adjustment, cleaning, backwash | Kg | 30
| Methanol | 0 | Bio process enhancement. | Kg | 30
| Ethanol | 0 | Bio process enhancement. | Kg | 30
| BioEnzyme | 0 | Bio Process enhancement. | Kg | 30
| Acetic acid | 0 | pH adustment and Bio process enhancement. | Kg | 30
| Sodium Hypochlorite | 0 | Membrane ,Diffuser cleaning. CIP | Kg | 30
| Soda Lime | 0 | Polishing, color removal. | Kg | 30
| Sodium Bicarbonate | 0 | Polishing, color removal. | Kg | 30
| Chlorine Dioxide | 0 | Polishing , color removal final treated water. | Kg | 30
| Defoamer | 0 | Foaming depressant. | Kg | 30
| Antifoam | 0 | Foaming prevention. | Kg | 30
| Citric Acid | 0 | Cleaning membrane. | Kg | 30
| Resins | 0 | Water softening agent before DM plant . | Kg | 30
| Lime CaO | 0 | Water softening , color removal agent . | Kg | 30
| Unit Cost | 0 | Cost per unit based on different site. | INR | 30
| % Change Per last consumption | 0 | Function of current day consumption w.r.t last consumption registered. | % | 30
| Lime Dosed per m3 processed | 0 | As function of quantity of effluent processed.Parameter to be taken from Process Module library. | Kg | 30
| Lime Dosed per Kg COD Load | 0 | As function of COD Load of effluent processed.Parameter to be taken from Process Module library. | Kg | 30
| Cost Incurred - Lime | 0 | Function of unit cost * consumption | INR | 30
| Cost per m3 processed Lime | 0 | As function of quantity of effluent processed.Parameter to be taken from Process Module library. | INR | 30
| Cost per Kg COD Load- Lime | 0 | As function of COD Load of effluent processed.Parameter to be taken from Process Module library. | INR | 30
| Total Accumulated Consumption - Lime | 0 | Function of Sum of last day total and current register. | Kg | 30
| Total Accumulated Cost- Lime | 0 | Function of total cost of last day and current cost. | INR | 30
| Washing Soda | 0 | water softening and color removal before DM. | Kg | 30
| Anodic Inhibitors | 0 | For decreasing rate of corrosion , Normally dosed in Cooling water inlet. | Kg | 30
| Cathodic Inhibitors | 0 | For decreasing rate of corrosion , Normally dosed in Cooling water inlet. | Kg | 30
| Sodium Hypochlorite | 0 | As Biocides | Kg | 30
| Calcium Hypochlorite | 0 | As Biocides | Kg | 30
| Bromine | 0 | As Biocides | Kg | 30
| Hybromous acid | 0 | As Biocides | Kg | 30
| Sodium Bromide | 0 | As Biocides | Kg | 30
| Daily Chemical Cost | 0 | Sum of all chemical cost | INR | 30
| Accumulated Chemical Cost | 0 | Function of Sum of Last total cost and current total cost | INR | 30
Electricity consumption | EM 1 | 0 | Energymeter readings of Substation /Incomer 1 | KWh | 30
| EM 2 | 0 | Energymeter readings of Substation /Incomer 2 | KWh | 30
| EM 3 | 0 | Energymeter readings of Substation /Incomer 3 | KWh | 30
| EM 4 | 0 | Energymeter readings of Substation /Incomer 4 | KWh | 30
| EM 5 | 0 | Energymeter readings of Substation /Incomer 5 | KWh | 30
| EM 6 | 0 | Energymeter readings of Substation /Incomer 6 | KWh | 30
| EM 7 | 0 | Energymeter readings of Substation /Incomer 7 | KWh | 30
| EM 8 | 0 | Energymeter readings of Substation /Incomer 8 | KWh | 30
| Power consumption Daily | 0 | Total electrical consumption | KWh | 30
| Cost per unit | 0 | Industrial unit rate | INR | 30
| % Change Per last consumption | 0 | Function of last total consumption and current consumption | % | 30
| Power consumption cost. | 0 | Total cost with current consumption | INR | 30
| Accumulated power consumption | 0 | Function of last total consumption and current consumption | KWh | 30
| Accumulated cost of Power consumption | 0 | Function of last total cost and current cost | INR | 30
Manpower cost | Internal employee | 0 | Team that in on ETP payrol | monthly | 30
| Outsourcing O&M | 0 | outside Team running O&M under service agreement | monthly | 30
| Subcontractors | 0 | Consulting and other one time (Pay per call) | monthly | 30
Equipment | Repair | 0 |  | monthly | 30
| Spare Parts | 0 |  | monthly | 30
| New equipment | 0 |  | monthly | 30